ER. LEE CHOON KUAN

Periodic Façade Inspection Report

Notice Reference No: PFI2024/12/7049

THE SOVEREIGN

99 Meyer Rd, Singapore 437920

Section 1 -  Facade System of the Building

1.1 General Information of the Building

| Development/building address and name | THE SOVEREIGN 99 Meyer Rd, Singapore 437920 |
| --- | --- |
| Number of building blocks in the development | 1 Block |
| Age of each building block within the development | 34 years |
| Height of each building block within the development | 95 m |
| Number of storey in each building block within the development | 30 storey |
| Description of main usage of the buildings (e.g. commercial, residential, industrial, hospitality, mix-use development consist of commercial and residential, industrial, etc.) | Commercial use |
| Details of as-built records/ drawings of façade systems, (if available, please attach in Annex C) | See drawings attached in Annex C |
| Maintenance history of the façade (i.e. list records of Repair and Redecoration work) | N/A |
| Known defects from past PFI report provided by the owner, (list if any) | N/A |
| Resurfacing of past defects, (list if any) | N/A |

Section 2 -  100% Visual inspection

2.1 Diary and Scope of Visual Inspection

| Time and dates of inspection | 5 April 2025 9am to 1pm |
| --- | --- |
| Duration of inspection | 4 hour |
| Location of inspection | 99 Meyer Rd, Singapore 437920 |
| Methodology of carrying out the 100% visual inspection. If drone is not used, explained why and provide vantage locations in Annex A. | Drone |
| Names, addresses, contact details of others, drone service provider/specialist/consultants involved in the inspection (list if any) | MaxzRange Pte Ltd |
| Particulars of Façade Inspector engaged to assist the Competent Person in the inspection (if any) | Pang Jin Yong Registration no: FI-0249 Expiry date: 31 December 2025 |
| Description of any areas not covered by the visual inspection, and the reasons for the non-coverage) | N/A |
| Highlight any discrepancies and deviations from the approved plans by showing façade elevations (in drawings or photographs) | N/A |

The visual inspection has covered all façade system within the buildings.

Section 2 -  Minimum 10% Close-range Inspection

3.1 Diary and Scope of Close-range Inspection

| Basis of selection of locations/ areas to carry out the Close-range inspection | North, South, West, East |
| --- | --- |
| Drawings/plan of selected areas as record (calculations showing the 10% area) | See Annex B |
| Time and dates of Close-range inspection | 10 -11 January 2025 9am to 5pm |
| Duration of inspection | 2 days |
| Methodology of carrying out the Close- range inspection, including the type of inspection tools & equipment used. Inspection of concealed fixings. Include CP’s instructions given to Façade Inspector | MaxzRange Pte Ltd |
| Particulars of Façade Inspector engaged to assist the Competent Person in the inspection (if any). To provide separate input if FI differs from visual inspection and more than one FIs.) | Pang Jin Yong Registration no: FI-0249 Expiry date: 31 December 2025 |

The close-range inspection has covered at least 10% of the surface area of each elevation.

| Photograph 1 | General view of rooftop ledge wall |
| --- | --- |
| Observation | Cracks |
| Nature of defect: | Structural |
| Recommended Actions | Reference to Summary List from 3.10 |

| Photograph 2 | Close-up of column base |
| --- | --- |
| Observation | Spalling concrete |
| Nature of defect: | Structural |
| Recommended Actions | Reference to Summary List from 3.10 |

| Photograph 3 | Beam soffit at carpark |
| --- | --- |
| Observation | Water leakage |
| Nature of defect: | Non-structural |
| Recommended Actions | Reference to Summary List from 3.10 |

| Photograph 4 | Expansion joint at facade |
| --- | --- |
| Observation | Joint displacement |
| Nature of defect: | Structural |
| Recommended Actions | Reference to Summary List from 3.10 |

| Photograph 5 | Exterior wall of Block A |
| --- | --- |
| Observation | Algae growth |
| Nature of defect: | Non-structural |
| Recommended Actions | Reference to Summary List from 3.10 |

| Photograph 6 | Ceiling near lift lobby |
| --- | --- |
| Observation | Water seepage |
| Nature of defect: | Non-structural |
| Recommended Actions | Reference to Summary List from 3.10 |

| Photograph 7 | Staircase handrail |
| --- | --- |
| Observation | Corrosion |
| Nature of defect: | Structural |
| Recommended Actions | Reference to Summary List from 3.10 |

| Photograph 8 | Roof slab junction |
| --- | --- |
| Observation | Efflorescence |
| Nature of defect: | Non-structural |
| Recommended Actions | Reference to Summary List from 3.10 |

| Photograph 9 | Carpark floor slab |
| --- | --- |
| Observation | Delamination |
| Nature of defect: | Structural |
| Recommended Actions | Reference to Summary List from 3.10 |

| Photograph 10 | Basement wall |
| --- | --- |
| Observation | Hairline cracks |
| Nature of defect: | Structural |
| Recommended Actions | Reference to Summary List from 3.10 |